

Rev 8/07


GDOT DAILY INSPECTION REPORT
ENGINEER = DOT


WECS OR INSPECTOR = CONTRACTOR
INSTRUCTIONS FOR THE DAILY INSPECTION FORM

As stated in the NPDES Permit, “ each day when any type of construction activity has taken place at a primary permittees site, qualified personnel provided by the primary permittee, shall inspect: (a) all areas at the site where petroleum products are stored, used, or handled for spills and leaks from vehicles and equipment;  (b) all locations at the site where vehicles enter or exit the site for evidence of off-site sediment tracking; and (c) measure rainfall once each twenty four hour period at the site.  These inspections must be conducted until a Notice of Termination (NOT) is submitted.”

1. The WECS, or qualified personnel shall perform this inspection every day there is construction activity on the site. 

2. The WECS shall provide this inspection form to the Engineer before the close of business every day.

3. The WECS shall ensure corrections/maintenance is performed within the time specified in the contract.
FILLING OUT THE INSPECTION FORM:

1. THE WECS, OR QUALIFIED PERSONNEL WILL ADD THE PROJECT NUMBER AND COUNTY NAME.

2. THE WECS, OR QUALIFIED PERSONNEL WILL PERFORM THE INSPECTIONS AND FILL OUT THE INSPECTION FORM.  ANY ITEMS THAT NEED MAINTENANCE OR CORRECTION ARE TO BE NOTED ON THE FORM BY THE PERSON PERFORMING THE INSPECTION.  
3. THE WECS WILL PROVIDE THE ORIGINAL FORM TO THE ENGINEER FOR REVIEW.  

4. THE ENGINEER WILL REVIEW THE INSPECTION FORM AND SPOT CHECK THE SITE FOR CONFORMINITY.

5. ANY ITEMS THE ENGINEER DETERMINES THAT NEED MAINTENANCE OR CORRECTION ARE TO BE NOTED ON THE FORM BY THE ENGINEER.  THE ENGINEER WILL PROVIDE A REVISED COPY OF THE FORM WITH CORRECTIONS TO THE WECS.  THE ORIGINAL INSPECTION FORM IS TO BE PLACED IN THE DOT PROJECT FILES.  

6. THE ENGINEER WILL RE-INSPECT ALL ITEMS LISTED AS NEEDING MAINTENANCE OR CORRECTION.  THIS INSPECTION WILL TAKE PLACE TWO (2) BUSINESS DAYS FROM THE DATE THE REVISED INSPECTION FORM IS PROVIDED TO THE WECS.  NOTE ON THE FORM THE DATE ITEMS WERE CORRECTED.  IF THESE ITEMS HAVE NOT BEEN CORRECTED, STOP ALL WORK IMMEDIATELY.
