Boundary Outfall Exclusion for GDOT Projects Partially Located in MS4 Permitted Areas

If the project is partially encroached by MS4 Permitted Areas, outfall basins not subject to the permit requirements shall be identified. Potential scenarios when outfall basins are partially located within permitted areas include:

- If both outfall basin or any segment thereof and outfall are located in the permitted areas, GDOT MS4 Permit requirements will apply to the basin.

- If the outfall basin is partially located in the permitted area and the outfall is not located in the permitted area, GDOT MS4 Permit requirements will not apply to the basin.