Company Name and Address

Phone & Date

To: 	Utility Company Name

Contact Name

RE:	OCGA 32-6-170 & 171 – Request for Project Utility Information

URPN – Design-Build 3a (Self Performing) – First and Second Submission Electronic Files/Plans (Existing/Proposed Utilities)

Company Name & Project

GDOT P.I. No.

County

COMPANY NAME is providing for your review a (DVD or a Web Page where the information can be downloaded) containing PDF and MicroStation files of the Project Utility Plans. These plans denote the pre-existing utility infrastructure based on Overhead / Subsurface Utility Engineering. These plans show the location of utilities known to us within the proposed project limits.

COMPANY NAME requests acknowledgment of receipt of these plans (in writing) within five days via email or letter to (Company Address).

- Preview the existing facilities as shown on the SUE plans.  See the SUE Review for Discrepancies Process contained herein.

- Mark any existing utility easement(s) you have within the project limits

  - Describe the existing easement(s)

  - Inform in writing if you desire the Department to acquire the (replacement) easement(s)

- Submit any applicable bridge space requirements for your facilities to this Office in writing

  - Indicate the size, weight, and location of the proposed facilities

  - Fully detail the method of attachment to the bridge

- Indicate if retention is anticipated for existing underground facilities

  - Clearly identify facilities to be retained on the plans

  - Include the depth and condition of facilities to be retained if possible

  - Include a retention request for the facilities identified

- If you have no facilities within the project limits, we will need a letter or email confirming “No Facilities”.

- Coordinate with Design-Build Team prior to marking plans for temporary and/or proposed relocation of their facilities, if applicable.

- Mark proposed relocations of facilities in conflict with the proposed design on the plans

  - Indicate material types

  - Indicate any proposed betterments

  - Indicate vertical position of proposed facilities on cross sections (if provided)

  - Provide approximate location of proposed facilities including proposed clear zone, proximity to right-of-way, and anticipated crossings

- Submit any applicable letter or request as outlined in the Utility Accommodation Policy and Standards Manual, current edition

  - Letter of No Conflict

  - If claiming a compensable property interest/prior rights, provide supporting easement documentation

- Provide applicable utility agreement package

  - Lump Sum (LS) or Actual Cost (AC) Agreement – For reimbursable utilities

    - Two (2) signed (in blue ink) of the completed Utility Agreement Estimate including supporting documentation and the Certificate of Eligibility.

    - Two (2) sets of half-size utility relocation plans including a cover sheet.

    - All Utility Company attachments.

  - Easement Limited Agreement (ELA) - For documenting and preserving the existing utility reimbursement rights of the Utility for future projects

    - Two (2) sets of plans (this information shall be on right-of-way plans), including a cover sheet.

    - Ensure that Utility easement areas are highlighted and the station numbers are clearly marked on the plans.

- Complete Permit Application submitted through the Georgia Utility Permitting System (GUPS).  If you currently have a “No Conflict” letter, a GUPS permit application is required for the purpose of reviewing the final construction plans and attending the preconstruction meeting.

  - Plans

  - Profiles

  - Utility Adjustment Schedule with work plan

  - Notice of Intent or a Certification Statement

  - Updated Cost Estimate (If applicable)

  - No Conflict Letter

  - Cross Sections (if applicable)

If any further information is needed, please let us know as soon as possible. YOUR NAME at YOUR E-MAIL ADRESS.

Sincerely,

COMPANY NAME & SIGNATURE

SUE Review for Discrepancies Process

Review for Discrepancies:

When you are in receipt of SUE information from the DB Team, review the general locations of the aerial and underground information provided in the SUE plans.

- Provide comments or mark-ups if there is any missing and/or incorrect information – See Discrepancies below:

  - DO NOT provide any other existing utility information unless specifically requested – See Utilities Added AFTER the Time of SUE below.

- For underground facilities only, also review the number of facilities, the kind and type (material/type), and the sizes shown on the SUE information.

  - Provide comments or mark-ups if there is any missing and/or incorrect information – See Discrepancies below.

- No depth information is required in the plans returned to the DB Team.

Discrepancies:

If you find any discrepancies between your company’s information and the SUE information, immediately notify the DB Team, via letter or email, of your findings.

- The Utility Owner will need to provide mark-ups for any missing and/or incorrect information

  - The Utility Owner may provide the DB Team with a .dgn file showing the discrepancies.

    - The .dgn file must follow the GDOT EDG for level names and line codes.

    - In this case only, the file name is up to the Utility Owner.

No Discrepancies:

After the SUE information has been reviewed, notify the DB Team, via letter or email, stating that you have no comments.  A non-response will be viewed as having no comments.

ELECTRONIC FILES:  The following is a brief explanation of the uses of the various electronic files.  Electronic files will be provided to the Utility Owners by the DB Team.  If electronic files are not used by the Utility Owner, hard-copy markups must be provided.  All work must be to GDOT standards and per the Plans Transfer Procedures for Utility Submissions Guidelines.

- UTLE:  This is the file where the Existing Utilities are shown.

  - SUE takes the place of first Submission to the Utility Owners; the DB Team will be responsible for creating the UTLE file and showing the existing utilities.

  - The UTLE will be provided to the Utility Owners for review as mentioned above.

    - The Utility Owners should NOT provide any other existing utility information unless specifically requested – See Utilities Added AFTER the Time of SUE below.

Utilities Added AFTER the Time of SUE:

- Please note that the SUE information is time specific.

- The SUE information will not show existing facilities that were installed AFTER the time of the SUE investigation.

The Utility Owner will be responsible for adding any existing facilities installed AFTER the time of the SUE investigation into the UTLE, a pdf, or a hard copy per the Plans Transfer Procedures for Utility Submissions guidelines.  Include sufficient notes and the date of installation.